## SUMMARY
UPGRADING OF IWRMC - DH.RINBUDHOO
Bill of Quantities
SUMMARY SHEET
Bill No | Item | Amount
1 | Preliminaries
2 | Earth works
3 | Concrete works
4 | Structural steel works
5 | Masonry works
6 | Plastering works
7 | Painting works
8 | Roofing works
9 | Electrical works
10 | Plumbing works
11 | Doors and windows
12 | Fire fighting
13 | Miscellaneous Works
Sub Total
Contingency 10%
Total
GST 6%
GRAND TOTAL

## DH.RINBUDHOO
UPGRADING OF WASTE AND RESOURCE MANAGEMENT CENTRE
DH.RINBUDHOO
Bill of Quantities
NOTES:
ALL MATERIALS SHALL BE SUBMITED FOR APPROVAL.
TECHNICAL SPECIFICATIONS SHALL BE FOLLOWED UNLESS OTHERWISE STATED IN DRAWINGS / BOQ.
No | Item | Unit | Quantity | Rate | Amount
1 | Preliminaries
1.1 | Mobilization to site | LS | 1
1.2 | Site management cost including set up of tempory services for contractor's services as maybe ncessary | LS | 1
1.3 | Setup sign boards on site as specified | LS | 1
1.4 | Clean up site upon completion of works | LS | 1
1.5 | Demobilization | LS | 1
0
2 | Earth works |  | 0
| Excavation work for foundations as follows |  | 0
2.1 | Tie beams TB | m³ | 2.89
0
3 | Concrete works |  | 0
| Rate shall include all formwork, reinforcement, casting of concrete as per drawing and specifications Concrete covers shall be as stated in drawings and BoQ. If unspecified, covers shal be as stated in Technical Specifications. |  | 0
3.1 | TB Tie beam cast according to drawing. Reinforcement shall be as shown on drawing | m³ | 1.55
3.2 | C1 (column stump) Concreting column stump including anchor bolts installed according to drawing. | m³ | 0.14
3.3 | C2 (column stump) Concreting column stump including anchor bolts installed according to drawing. | m³ | 0.13
3.4 | C1 Concreting cover for GI pipes cast according to drawing. | m³ | 0.56
3.5 | C2 Concrete column cast according to drawing. | m³ | 1.18
0
4 | Structural steel works |  | 0
| GENERAL |  | 0
| (a) Thickness of GI pipes shall be as stated in drawings. |  | 0
| (b) GI pipes shall be fully galvanized. |  | 0
| Composting building |  | 0
4.1 | GI column, C1 Supply, fabrication and installation of GI columns as shown in drawings. Rate shall include all cuts, welds, cleats, anchor bolts and all other connections deemed necessary to make the column stable | Nos | 4
4.2 | GI column, C2 Supply, fabrication and installation of GI columns as shown in drawings. Rate shall include all cuts, welds, cleats, anchor bolts and all other connections deemed necessary to make the column stable | Nos | 8
4.3 | GI truss, TR1 Supply, fabrication and installation of trusses as shown in drawings. Rate shall also include all cuts, welds and other connections deemed necessary to make the structure stable | m | 43.5
0
5 | Masonry works |  | 0
| Masonry walls of 100mm thick masonry blocks |  | 0
| Composting building |  | 0
5.1 | Hollow block masonry walls, 2.5m height | m² | 84.5
5.2 | Hollow block masonry walls, 1.5m height | m² | 21.96
0
6 | Plastering works |  | 0
| Plastering on masonry block walls, 25mm thickness plastering on each side of walls |  | 0
| Composting building |  | 0
6.1 | Hollow block masonry walls, 2.5m height | m² | 169
6.2 | Hollow block masonry walls, 1.5m height | m² | 43.92
0
7 | Painting works |  | 0
| GENERAL |  | 0
| Emulsion paint coating: one primer coat and two top coat. Wall paint color: Nippon paint offwhite 5039 or equivalent |  | 0
| Composting building |  | 0
7.1 | Hollow block masonry walls, 2.5m height | m² | 169
7.2 | Hollow block masonry walls, 1.5m height | m² | 43.92
| Steel members |  | 0
7.3 | Apply epoxy protective paint coating SIGMAPRIME200/SIGMACOVER456 (Grey color) OR EQUIVALENT on all exposed surfaces of G.I pipe columns, flood light poles, framing, truss members, metal doors and gates, including MS sheets. Rate shall include redoxide primer on all welded joints, primer and 2 top coats as specified by the paint supplier. | LS | 1
0
8 | Roofing works |  | 0
| Composting building |  | 0
8.1 | Lysaght roofing sheet (maroon color) Rate shall include all necessary laps, fastening, fixtures and sealing of joints | m² | 186.78
8.2 | Roof flashing. Rate shall include fastening and sealing of joints | m | 15.5
8.3 | Timber rafters - 100 x 50mm. Rate shall include for all fixing and joints | m | 207.53
8.4 | Timber battens - 50 x 38mm. Rate shall include for all fixing and joints. | m | 311.29
8.5 | Provide a 5" lysaught roof gutter with 3" PVC down pipes as shown in drawings. Rates shall include all materials and fastenings. | LS | 1
0
9 | Electrical works |  | 0
| GENERAL |  | 0
| (a) Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body. |  | 0
| (c) The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories. |  | 0
| (d) The cost shall also include for trenching including: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus soil. |  | 0
| (e) Rates shall include switches, electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces. |  | 0
| (h) Contractor shall provide all cabling, wiring, conduits, etc. required for completing all electrical installations. |  | 0
| (g) All sockets & switches shall be ABB / clipsal or equivalent |  | 0
| Supply and installation: |  | 0
9.1 | 16 sqmm 4 core power supply cable for internal wiring from main distribution board to all other distribution boards. | LS | 1
9.2 | 3-phase 15A power sockets. Rate shall include connection to circuit breaker using 6sqmm power supply cable and all necessary accessories | no | 2
9.3 | 13A double sockets. Rate shall include connection to circuit breaker using 6sqmm power supply cable and all necessary accessories | no | 2
9.4 | 10W wall mount LED emergency light Rate shall include required sockets and connection to circuit breaker | no | 1
9.5 | 25W swivel type LED flood light for waste management block (interior) Rate shall include connecting each light to a switch near circuit breaker and providing power to the switch | no | 7
9.6 | Exhaust fans Rate shall include provision of switch near the respective entrance, connection to circuit breaker and all necessary accessories | no | 1
0
10 | Plumbing works |  | 0
| Water piping works |  | 0
10.1 | Laying of fresh water piping as shown in drawing. Rate shall include all pipe work, vent pipe work, fittings, valves, etc including outlet pipes to PVC taps as shown in drawings. | LS | 1
| Fittings |  | 0
10.2 | PVC taps at ends of outlet pipes. | no | 2
0
11 | Doors and windows |  | 0
| GENERAL |  | 0
| All doors should be lockable. |  | 0
| Fabrication and installation of doors: |  | 0
11.1 | Supply and installation of full height aluminium louvers on top of masonry walls as per drawings and specifications. Rate shall include all cuts, sealants,screws etc necessary for proper fixing of the door. | LS | 1
0
12 | Fire fighting |  | 0
| Supply and installation of fire fighting equipment |  | 0
12.1 | 50KG DCP Trolley for collection bay | no | 2
12.2 | 50LTR Foam Trolley for collection bay | no | 1
12.3 | Wet Chemical 6Ltr with Cabinet for hazardous waste area | no | 1
12.4 | Water 9Ltr with Cabinet for Office Area - Outside | no | 1
12.5 | CO2 2KG with Cabinet for Office Area - Outside | no | 1
0
0
13 | Miscellaneous Works |  | 0
| Sign boards |  | 0
13.1 | Fabricate and install 900 x 300 fire safety sign boards on 5mm plastic sheet as per design specifications provided by client. All letters, logos and symbols used on the board should be acrylic painted. | no | 5
13.2 | Fabricate and install 900 x 600 collection bay sign boards on 5mm plastic sheet as per design specifications provided by client. All letters, logos and symbols used on the board should be acrylic painted. | no | 13
Sub Total
Contingency 10%
Total
GST 6%
GRAND TOTAL